GIDDINGS & LEWIS

PiC Application Note

Document Number:  AN000021

Topic:  PiC900 Scan Times

The following scan rates were measured by inserting 1024 bytes of logic that consists of contacts and coils, and measuring the resultant scan rate with a logic analyzer.  Actual application scan rates may differ due to use of servos, user functions, etc..

| Processor Model | Scan Rate (Microseconds per K) |
| --- | --- |
| PiC900 Standard | 384 |
| PiC900 Turbo | 192 |
| PiC900 Turbo² | 78 |
| PiC90 Standard | 384 |
| PiC9 / PiC90 Turbo | 192 |
| PiC900 Model 911 | 288 |
| PiC900 Model 912 Turbo | 144 |
| PiC900 Model 943 Turbo² | 66 |
| PiC900 Model 945 Turbo³ | 26 |

Revision History

Date:  28 Feb 1996

Author:  Sue Dorscheid

Changes:  Original

Date:  [For each revision, enter the date revised,]

Author:  [the name of the person revising the document,]

Changes:  [and indicate what changes were made.]